## Slide 1: Module 3: Preparing for Cluster Service Installation

## Slide 2: Overview
Pre-Installation Requirements
Identifying Hardware Considerations
Assigning IP Addresses Within a Cluster
Assigning Names Within a Cluster
Determining Domain Considerations
Existing Services and Applications

## Slide 3: Pre-Installation Requirements
X
X
Client
Client
Client
Client
Router
Server
Power

## Slide 4: Cluster Network Requirements
Public Network
Private Network
Mixed Network
Private
Network
Public or Mixed
Network
Notes: Check Mod 2 p37 for Private Net Info

## Slide 5: Cluster Disk Requirements
All Disks on Shared Bus
Disks Can Be Seen from All Nodes
Basic Disks, not Dynamic
All Disk Partitions must be NTFS
Hardware RAID not Software RAID

## Slide 6: Data Storage Requirements
C:
D:
C:
Y:
X:
Local Disk 0
Node B
Cluster Disk 2
1 Partition
Cluster Disk 1
2 Partitions
Node A Disk
Configuration:
C: = Local Disk 0
W: = Cluster Disk 1
X: = Cluster Disk 1
Y: = Cluster Disk 2
Node B Disk
Configuration:
C: = Local Disk 0
D: = Local Disk 1
W: = Cluster Disk 1
X: = Cluster Disk 1
Y: = Cluster Disk 2
W:
Node A
Local Disk 0
Local Disk 1

## Slide 7: Identifying Hardware Considerations
Selecting a Cluster Service Compatible System
Routers, Switches, and Hubs
Network Cards
Cluster Disk
Cluster Data Access

## Slide 8: Cluster Service Compatible Systems
Dual PCI Bus
PCI Disk Controller
Separate Disk Controller for the shared bus
PCI Network Adapter
External Hard Disk
Cables and Terminators

## Slide 9: Routers, Switches, and Hubs
\\Accounting
IP 10.0.0.5
Router
IP 192.168.5.1
MAC 00-D8-60-33-FA
NodeA
IP 10.0.0.1
MAC 00-40-96-32-37-BA
NodeB
IP 10.0.0.2
MAC 00-D0-59-12-0F-00
\\Accounting= IP 10.0.0.5
MAC 00-40-96-32-37-BA
\\Accounting= IP 10.0.0.5
MAC 00-D8-60-33-FA
\\Accounting= IP 10.0.0.5
MAC 00-40-96-32-37-BA
\\Accounting
IP 10.0.0.5
ARP
Update

## Slide 10: Network Cards
Network Descriptions
Supported Network Types
  10 BaseT
  100 BaseT
  FDDI Network Card
  Specialized Interconnects

## Slide 11: Cluster Disk
Hardware RAID
Disk Access Speed
Multiple Shared Bus
Hardware RAID
Single Disk
Notes: I added a 2nd line and a disk – this is a second shared bus

## Slide 12: Cluster Data Access
SCSI Requirements for Cluster Service
Fibre Requirements for Cluster Service

## Slide 13: Assigning IP Addresses Within a Cluster
Private
Network
Public
Network
Public Net Cluster
10.0.2.7
255.255.255.0
Public Net
Node A
10.0.2.4
255.255.255.0
Public Net
Node B
10.0.2.5
255.255.255.0
Private Net
Node A
10.0.1.5
255.255.255.0
Private Net
Node B
10.0.1.6
255.255.255.0

## Slide 14: Assigning Names Within a Cluster
\\NodeA
\\NodeB
\\Cluster
\\Accounting
A Client can use \\NodeA to Manage NodeA
A Client can use \\Accounting to access the Virtual Server
A Client can use \\Cluster to Manage the Cluster

## Slide 15: Determining Domain Considerations
User Accounts
Computer Accounts

## Slide 16: User Accounts
Administrator Account on Each Node
Cluster Service Account

## Slide 17: Computer Accounts
Domain
Organizational
Units

## Slide 18: Existing Services and Applications
Pre-Cluster
Cluster Installed
Server A running:
WINS
DNS
DHCP
Server B running:
Exchange
Node A running:
WINS
DNS
DHCP
Node B:
Exchange Fails
Virtual Server
running:
DHCP
Notes: Exchange fails on this slide

## Slide 19: Lab A: Configuring Advanced Server for Cluster Installation

## Slide 20: Review
Pre-Installation Requirements
Identifying Hardware Considerations
Assigning IP Addresses Within a Cluster
Assigning Names Within a Cluster
Determining Domain Considerations
Existing Services and Applications